## Li-BESS
Study | Ref | Price | Prop | range | Price [€/kWh] | Year | Consider | Price [€/kWh] | Today | year 2030 | year 2050 |  |  |  |  | Today | year 2030 | year 2050
Irena (2017) | [1] | NMC: 145 €/kWh | NMC |  | 145 | 2030 | yes | 145 |  | 145 | [5 empty] | #N/A | 145 | #N/A
|  | NMC/LMO: 167 €/kWh | NMC/LMO |  | 167 | 2030 | yes | 167 |  | 167 |  | year | avg | min | max | #N/A | 167 | #N/A
|  | LFP: 224 €/kWh | LFP |  | 224 | 2030 | yes | 224 |  | 224 |  | 2020 | 297.5 | 100 | 537 | #N/A | 224 | #N/A
NREL (2021) | [2] | 143-248 €/kWh |  | Min | 143 | 2030 | yes | 143 |  | 143 |  | 2030 | 189.75 | 84 | 526 | #N/A | 143 | #N/A
|  |  |  | Max | 248 | 2030 | yes | 248 |  | 248 |  | 2050 | 167.5 | 87 | 248 | #N/A | 248 | #N/A
|  | 87-248 €/kWh |  | Min | 87 | 2050 | yes | 87 |  |  | 87 |  |  |  |  | #N/A | #N/A | 87
|  |  |  | Max | 248 | 2050 | yes | 248 |  |  | 248 |  |  |  |  | #N/A | #N/A | 248
Mauler (2021) | [3] | 234 $/kWh |  |  | 234 | 2020 | yes | 234 | 234 | [6 empty] | 234 | #N/A | #N/A
|  | 132 $/kWh |  |  | 123 | 2030 | yes | 123 |  | 123 | [5 empty] | #N/A | 123 | #N/A
|  | NMC: 145 (84-318) €/kWh | NMC | Avg | 145 | 2030 | yes | 145 |  | 145 | [5 empty] | #N/A | 145 | #N/A
|  |  | NMC | Min | 84 | 2030 | yes | 84 |  | 84 | [5 empty] | #N/A | 84 | #N/A
|  |  | NMC | Max | 318 | 2030 | yes | 318 |  | 318 | [5 empty] | #N/A | 318 | #N/A
|  | LFP: 222 (107-526) €/kWh | LFP | Avg | 222 | 2030 | yes | 222 |  | 222 | [5 empty] | #N/A | 222 | #N/A
|  |  | LFP | Min | 107 | 2030 | yes | 107 |  | 107 | [5 empty] | #N/A | 107 | #N/A
|  |  | LFP | Max | 526 | 2030 | yes | 526 |  | 526 | [5 empty] | #N/A | 526 | #N/A
|  |  | LFP | Avg | 222 | 2020 | yes | 222 | 222
|  |  | LFP | Min | 107 | 2020 | yes | 107 | 107
|  |  | LFP | Max | 526 | 2020 | yes | 526 | 526
|  | 71 $/kWh |  |  | 71 | 2050 | no | [8 empty] | #N/A | #N/A | #N/A
Penisa (2020) | [4] | 100 $/kWh |  |  | 100 | 2024 | yes | 100 | 100 | [6 empty] | 100 | #N/A | #N/A
Beuse (2020) | [5] | 316 $/kWh |  |  | 316 | 2017 | yes | 316 | 316 | [6 empty] | 316 | #N/A | #N/A
|  | 110-157 €/kWh |  | Min | 110 | 2030 | yes | 110 |  | 110 | [5 empty] | #N/A | 110 | #N/A
|  |  |  | Max | 157 | 2030 | yes | 157 |  | 157 | [5 empty] | #N/A | 157 | #N/A
Chen (2023) | [6] | 97-220 €/kWh |  | Min | 97 | 2030 | yes | 97 |  | 97 | [5 empty] | #N/A | 97 | #N/A
|  |  |  | Max | 220 | 2030 | yes | 220 |  | 220 | [5 empty] | #N/A | 220 | #N/A
NREL (2023) | [7] | 338 $/kWh | 10h |  | 338 | 2021 | yes | 338 | 338 | [6 empty] | 338 | #N/A | #N/A
|  | 537 $/kWh | 2h |  | 537 | 2021 | yes | 537 | 537 | [6 empty] | 537 | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.
To use the results of this market analysis please cite
F. Superchi, A. Bianchini, A. Moustakis, and G. Pechlivanoglou, “Towards sustainable energy independence: A case study of green hydrogen as seasonal storage integration in a small island,” Renewable Energy, vol. 245, p. 122813, Jun. 2025
DOI: 10.1016/j.renene.2025.122813

## ALK EL
Study | Ref | Price | Prop | range | Price [€/kWh] | Year | Consider | Price [€/kWh] | Today | year 2030 | year 2050 |  |  |  |  | Today | year 2030 | year 2050
IEA (2019) | [7] | 500-1400 |  | Min | 500 | 2019 | yes | 500 | 500 | [6 empty] | 500 | #N/A | #N/A
|  |  |  | Max | 1400 | 2019 | yes | 1400 | 1400 |  |  | year | avg | min | max | 1400 | #N/A | #N/A
|  | 400-850 |  | Min | 400 | 2030 | yes | 400 |  | 400 |  | 2020 | 882.8 | 419 | 1400 | #N/A | 400 | #N/A
|  |  |  | Max | 850 | 2030 | yes | 850 |  | 850 |  | 2030 | 558.1176 | 225 | 1000 | #N/A | 850 | #N/A
|  | 200-700 |  | Min | 200 | 2050 | yes | 200 |  |  | 200 | 2050 | 355 | 171 | 700 | #N/A | #N/A | 200
|  |  |  | Max | 700 | 2050 | yes | 700 |  |  | 700 |  |  |  |  | #N/A | #N/A | 700
IEA (2020) | [8] | 1320 |  |  | 1320 | 2020 | no | [8 empty] | #N/A | #N/A | #N/A
|  | 410-530 |  | Min | 410 | 2030 | yes | 410 |  | 410 | [5 empty] | #N/A | 410 | #N/A
|  |  |  | Max | 530 | 2030 | yes | 530 |  | 530 | [5 empty] | #N/A | 530 | #N/A
|  | 320-385 |  | Min | 320 | 2040 | yes | 320 |  |  | 320 |  |  |  |  | #N/A | #N/A | 320
|  |  |  | Max | 285 | 2040 | yes | 285 |  |  | 285 |  |  |  |  | #N/A | #N/A | 285
NetZero (2021) | [9] | 750-1160 |  | Min | 750 | 2020 | yes | 750 | 750 | [6 empty] | 750 | #N/A | #N/A
|  |  |  | Max | 1160 | 2020 | yes | 1160 | 1160 | [6 empty] | 1160 | #N/A | #N/A
|  | 225-460 |  | Min | 225 | 2030 | yes | 225 |  | 225 | [5 empty] | #N/A | 225 | #N/A
|  |  |  | Max | 460 | 2030 | yes | 460 |  | 460 | [5 empty] | #N/A | 460 | #N/A
|  | 180-350 |  | Min | 180 | 2040 | yes | 180 |  |  | 180 |  |  |  |  | #N/A | #N/A | 180
|  |  |  | Max | 350 | 2040 | yes | 350 |  |  | 350 |  |  |  |  | #N/A | #N/A | 350
IRENA (2020) | [10] | 500-1000 |  | Min | 500 | 2020 | yes | 500 | 500 | [6 empty] | 500 | #N/A | #N/A
|  |  |  | Max | 1000 | 2020 | yes | 1000 | 1000 | [6 empty] | 1000 | #N/A | #N/A
|  | 200 |  |  | 200 | 2050 | yes | 200 |  |  | 200 |  |  |  |  | #N/A | #N/A | 200
Schmidt (2017) | [11] | 700-1000 |  | Min | 700 | 2030 | yes | 700 |  | 700 | [5 empty] | #N/A | 700 | #N/A
|  |  |  | Max | 1000 | 2030 | yes | 1000 |  | 1000 | [5 empty] | #N/A | 1000 | #N/A
Gallardo (2021) | [12] | 500-700 |  | Min | 500 | 2018 | yes | 500 | 500 | [6 empty] | 500 | #N/A | #N/A
|  |  |  | Max | 700 | 2018 | yes | 700 | 700 | [6 empty] | 700 | #N/A | #N/A
|  | 400-500 |  | Min | 400 | 2030 | yes | 400 |  | 400 | [5 empty] | #N/A | 400 | #N/A
|  |  |  | Max | 500 | 2030 | yes | 500 |  | 500 | [5 empty] | #N/A | 500 | #N/A
IRENA (2019) | [13] | 840 |  |  | 840 | 2019 | yes | 840 | 840 | [6 empty] | 840 | #N/A | #N/A
|  | 200 |  |  | 200 | 2050 | yes | 200 |  |  | 200 |  |  |  |  | #N/A | #N/A | 200
Gorre (2020) | [14] | 650 |  |  | 650 | 2030 | yes | 650 |  | 650 | [5 empty] | #N/A | 650 | #N/A
ESCG (2022) | [15] | 1320 |  |  | 1320 | 2021 | yes | 1320 | 1320 | [6 empty] | 1320 | #N/A | #N/A
|  | 425 |  |  | 425 | 2030 | yes | 425 |  | 425 | [5 empty] | #N/A | 425 | #N/A
Bohm (2020) | [16] | 1100 |  |  | 1100 | 2019 | yes | 1100 | 1100 | [6 empty] | 1100 | #N/A | #N/A
|  | 620 |  |  | 620 | 2030 | yes | 620 |  | 620 | [5 empty] | #N/A | 620 | #N/A
|  | 520 |  |  | 520 | 2040 | yes | 520 |  |  | 520 |  |  |  |  | #N/A | #N/A | 520
Grigoriev (2020) | [17] | 500-1400 |  | Min | 500 | 2020 | yes | 500 | 500 | [6 empty] | 500 | #N/A | #N/A
|  |  |  | Max | 1400 | 2020 | yes | 1400 | 1400 | [6 empty] | 1400 | #N/A | #N/A
|  | 400-850 |  | Min | 400 | 2030 | yes | 400 |  | 400 | [5 empty] | #N/A | 400 | #N/A
|  |  |  | Max | 850 | 2030 | yes | 850 |  | 850 | [5 empty] | #N/A | 850 | #N/A
|  | 200-700 |  | Min | 200 | 2050 | yes | 200 |  |  | 200 |  |  |  |  | #N/A | #N/A | 200
|  |  |  | Max | 700 | 2050 | yes | 700 |  |  | 700 |  |  |  |  | #N/A | #N/A | 700
Roos (2021) | [18] | 419-1153 |  | Min | 419 | 2020 | yes | 419 | 419 | [6 empty] | 419 | #N/A | #N/A
|  |  |  | Max | 1153 | 2020 | yes | 1153 | 1153 | [6 empty] | 1153 | #N/A | #N/A
|  | 342-726 |  | Min | 342 | 2030 | yes | 342 |  | 342 | [5 empty] | #N/A | 342 | #N/A
|  |  |  | Max | 726 | 2030 | yes | 726 |  | 726 | [5 empty] | #N/A | 726 | #N/A
|  | 171-589 |  | Min | 171 | 2050 | yes | 171 |  |  | 171 |  |  |  |  | #N/A | #N/A | 171
|  |  |  | Max | 589 | 2050 | yes | 589 |  |  | 589 |  |  |  |  | #N/A | #N/A | 589
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.
To use the results of this market analysis please cite
F. Superchi, A. Bianchini, A. Moustakis, and G. Pechlivanoglou, “Towards sustainable energy independence: A case study of green hydrogen as seasonal storage integration in a small island,” Renewable Energy, vol. 245, p. 122813, Jun. 2025
DOI: 10.1016/j.renene.2025.122813

## PEM FC
Study | Ref | Price | Prop | range | Price [€/kWh] | Year | Consider | Price [€/kWh] | Today | year 2030 | year 2050 |  |  |  |  | Today | year 2030 | year 2050
IEA (2019) | [7] | 1100-1800 |  | Min | 1100 | 2019 | no | [8 empty] | #N/A | #N/A | #N/A
|  |  |  | Max | 1800 | 2019 | no |  |  |  |  | year | avg | min | max | #N/A | #N/A | #N/A
|  | 650-1500 |  | Min | 650 | 2030 | no |  |  |  |  | 2020 | 957.5 | 700 | 1400 | #N/A | #N/A | #N/A
|  |  |  | Max | 1500 | 2030 | no |  |  |  |  | 2030 | 746.6667 | 350 | 1600 | #N/A | #N/A | #N/A
|  | 200-900 |  | Min | 200 | 2050 | yes | 200 |  |  | 200 | 2050 | 433.3333 | 200 | 900 | #N/A | #N/A | 200
|  |  |  | Max | 900 | 2050 | yes | 900 |  |  | 900 |  |  |  |  | #N/A | #N/A | 900
IRENA (2020) | [10] | 700-1400 |  | Min | 700 | 2020 | yes | 700 | 700 | [6 empty] | 700 | #N/A | #N/A
|  |  |  | Max | 1400 | 2020 | yes | 1400 | 1400 | [6 empty] | 1400 | #N/A | #N/A
|  | 200 |  |  | 200 | 2050 | yes | 200 |  |  | 200 |  |  |  |  | #N/A | #N/A | 200
Schmidt (2017) | [11] | 700-1600 |  | Min | 700 | 2030 | yes | 700 |  | 700 | [5 empty] | #N/A | 700 | #N/A
|  |  |  | Max | 1600 | 2030 | yes | 1600 |  | 1600 | [5 empty] | #N/A | 1600 | #N/A
Gallardo (2021) | [12] | 1000 |  |  | 1000 | 2018 | yes | 1000 | 1000 | [6 empty] | 1000 | #N/A | #N/A
|  | 650-750 |  | Min | 650 | 2030 | yes | 650 |  | 650 | [5 empty] | #N/A | 650 | #N/A
|  |  |  | Max | 750 | 2030 | yes | 750 |  | 750 | [5 empty] | #N/A | 750 | #N/A
Baldi (2022) | [19] | 730 |  |  | 730 | 2022 | yes | 730 | 730 | [6 empty] | 730 | #N/A | #N/A
Fraunhofer (2021) | [20] | 430 |  |  | 430 | 2030 | yes | 430 |  | 430 | [5 empty] | #N/A | 430 | #N/A
ESCG (2022) | [15] | 1316 |  |  | 1316 | 2021 | no | [8 empty] | #N/A | #N/A | #N/A
|  | 350 |  |  | 350 | 2030 | yes | 350 |  | 350 | [5 empty] | #N/A | 350 | #N/A
Ozden (2017) | [21] | 2000 |  |  | 2000 | 2017 | no | [8 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.
To use the results of this market analysis please cite
F. Superchi, A. Bianchini, A. Moustakis, and G. Pechlivanoglou, “Towards sustainable energy independence: A case study of green hydrogen as seasonal storage integration in a small island,” Renewable Energy, vol. 245, p. 122813, Jun. 2025
DOI: 10.1016/j.renene.2025.122813

## H2 Tank
Study | Ref | Price | Prop | range | Price [€/kWh] | Year | Consider | Price [€/kWh] | Today | year 2030 | year 2050 |  |  |  |  | Today | year 2030 | year 2050
Baldi (2022) | [19] | 500 €/kg |  |  | 500 | 2022 | no | [8 empty] | #N/A | #N/A | #N/A
Leeuwen (2018) | [22] | 490 €/kg |  |  | 490 | 2018 | yes | 490 | 490 |  |  | year | avg | min | max | 490 | #N/A | #N/A
Kharel (2018) | [23] | 430 €/kg |  |  | 430 | 2018 | yes | 430 | 430 |  |  | 2020 | 464.2222 | 400 | 550 | 430 | #N/A | #N/A
Niaz (2015) | [24] | 400-530 €/kg |  | Min | 400 | 2015 | yes | 400 | 400 |  |  | 2030 | 345.6667 | 220 | 466 | 400 | #N/A | #N/A
|  |  |  | Max | 530 | 2015 | no |  |  |  |  | 2050 | 344.75 | 220 | 460 | #N/A | #N/A | #N/A
Rivard (2019) | [25] | 630 €/kg |  |  | 630 | 2019 | no | [8 empty] | #N/A | #N/A | #N/A
Ozden (2017) | [21] | 100 $/m3 |  |  | 1200 | 2017 | no | [8 empty] | #N/A | #N/A | #N/A
Ulleberg (2020) | [26] | 250 bar: 550 €/kg | 250 bar |  | 550 | 2020 | yes | 550 | 550 | [6 empty] | 550 | #N/A | #N/A
|  | 450 bar: 715 €/kg | 450 bar |  | 715 | 2020 | no | [8 empty] | #N/A | #N/A | #N/A
|  | 700 bar: 1750 €/kg | 700 bar |  | 1750 | 2020 | no | [8 empty] | #N/A | #N/A | #N/A
CleanH2 (2023) | [27] | 300 €/kg | Target |  | 300 | 2030 | yes | 300 |  | 300 | [5 empty] | #N/A | 300 | #N/A
DOE (2020) | [28] | 300 €/kg | Target |  | 300 | 2030 | yes | 300 |  | 300 | [5 empty] | #N/A | 300 | #N/A
|  | 266 €/kg | Target |  | 266 | 2050 | yes | 266 |  |  | 266 |  |  |  |  | #N/A | #N/A | 266
Parks (2014) | [29] | 172 bar: 470 $/kg | 172 bar |  | 470 | 2014 | yes | 470 | 470 | [6 empty] | 470 | #N/A | #N/A
|  | 875 bar. 1400 $/kg | 875 bar |  | 1400 | 2014 | no | [8 empty] | #N/A | #N/A | #N/A
Ikäheimo (2018) | [30] | 700 bar: 500 €/kg | 700 bar |  | 500 | 2018 | yes | 500 | 500 | [6 empty] | 500 | #N/A | #N/A
SANDIA (2011) | [31] | 500 $/kg |  |  | 500 | 2018 | yes | 500 | 500 | [6 empty] | 500 | #N/A | #N/A
|  | 80 $/kg (target cost) |  |  | 80 | tbd | no | [8 empty] | #N/A | #N/A | #N/A
Shin (2023) | [32] | 350 bar: 400 $/kg | 350 bar |  | 400 | 2023 | yes | 400 | 400 | [6 empty] | 400 | #N/A | #N/A
|  | 700 bar: 700 $/kg | 700 bar |  | 700 | 2023 | no | [8 empty] | #N/A | #N/A | #N/A
Sens (2024) | [33] | 460 (220-600) €/kg | 100 bar | Avg | 460 | 2030 | yes | 460 |  | 460 | [5 empty] | #N/A | 460 | #N/A
|  |  |  | Min | 220 | 2030 | yes | 220 |  | 220 | [5 empty] | #N/A | 220 | #N/A
|  |  |  | Max | 600 | 2030 | no | [8 empty] | #N/A | #N/A | #N/A
|  | 460 (220-600) €/kg |  | Avg | 460 | 2050 | yes | 460 |  |  | 460 |  |  |  |  | #N/A | #N/A | 460
|  |  |  | Min | 220 | 2050 | yes | 220 |  |  | 220 |  |  |  |  | #N/A | #N/A | 220
|  |  |  | Max | 600 | 2050 | no | [8 empty] | #N/A | #N/A | #N/A
Villalonga (2021) | [34] | 438 USD/kg |  |  | 438 | 2024 | yes | 438 | 438 | [6 empty] | 438 | #N/A | #N/A
|  | 328 USD/kg |  |  | 328 | 2030 | yes | 328 |  | 328 | [5 empty] | #N/A | 328 | #N/A
IEA (2015) | [35] | 14 USD/kWh | Target |  | 466 | 2030 | yes | 466 |  | 466 | [5 empty] | #N/A | 466 | #N/A
|  | 13 USD/kWh | Target |  | 433 | 2050 | yes | 433 |  |  | 433 |  |  |  |  | #N/A | #N/A | 433
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.
To use the results of this market analysis please cite
F. Superchi, A. Bianchini, A. Moustakis, and G. Pechlivanoglou, “Towards sustainable energy independence: A case study of green hydrogen as seasonal storage integration in a small island,” Renewable Energy, vol. 245, p. 122813, Jun. 2025
DOI: 10.1016/j.renene.2025.122813

## PV
Study | Ref | Price | Prop | range | Price [€/kWh] | Year | Consider | Price [€/kWh] | Today | year 2030 | year 2050 |  |  |  |  | Today | year 2030 | year 2050
Ozden (2017) | [21] | 1600-5000 $/kW |  | Min | 1600 | 2017 | yes | 1600 | 1600 | [6 empty] | 1600 | #N/A | #N/A
|  |  |  | Max | 5000 | 2017 | no |  |  |  |  | year | avg | min | max | #N/A | #N/A | #N/A
Sens (2022) | [33] | 628 €/kW |  |  | 628 | 2020 | no |  |  |  |  | 2020 | 1079.875 | 677 | 1600 | #N/A | #N/A | #N/A
|  | 250 – 430 €/kW |  | Min | 250 | 2030 | no |  |  |  |  | 2030 | 587 | 340 | 834 | #N/A | #N/A | #N/A
|  |  |  | Max | 430 | 2030 | no |  |  |  |  | 2050 | 323 | 165 | 481 | #N/A | #N/A | #N/A
|  | 170 – 330 €/kW |  | Min | 170 | 2050 | no | [8 empty] | #N/A | #N/A | #N/A
|  |  |  | Max | 330 | 2050 | no | [8 empty] | #N/A | #N/A | #N/A
IRENA (2019) | [34] | 1210 USD/kW |  |  | 1210 | 2018 | yes | 1210 | 1210 | [6 empty] | 1210 | #N/A | #N/A
|  | 340 – 834 USD/kW |  | Min | 340 | 2030 | yes | 340 |  | 340 | [5 empty] | #N/A | 340 | #N/A
|  |  |  | Max | 834 | 2030 | yes | 834 |  | 834 | [5 empty] | #N/A | 834 | #N/A
|  | 165 – 481 USD/kW |  | Min | 165 | 2050 | yes | 165 |  |  | 165 |  |  |  |  | #N/A | #N/A | 165
|  |  |  | Max | 481 | 2050 | yes | 481 |  |  | 481 |  |  |  |  | #N/A | #N/A | 481
IEA (2020) | [35] | 667 – 1321 USD/kW | Emerging c | Avg | 1055 | 2019 | yes | 1055 | 1055 | [6 empty] | 1055 | #N/A | #N/A
|  |  | Emerging c | Min | 677 | 2019 | yes | 677 | 677 | [6 empty] | 677 | #N/A | #N/A
|  |  | Emerging c | Max | 1321 | 2019 | yes | 1321 | 1321 | [6 empty] | 1321 | #N/A | #N/A
Statista | [36] | 876 USD/kW | Global avg |  | 876 | 2022 | yes | 876 | 876 | [6 empty] | 876 | #N/A | #N/A
|  | 983 USD/kW |  |  | 983 | 2021 | yes | 983 | 983 | [6 empty] | 983 | #N/A | #N/A
|  | 917 USD/kW |  |  | 917 | 2020 | yes | 917 | 917 | [6 empty] | 917 | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.
To use the results of this market analysis please cite
F. Superchi, A. Bianchini, A. Moustakis, and G. Pechlivanoglou, “Towards sustainable energy independence: A case study of green hydrogen as seasonal storage integration in a small island,” Renewable Energy, vol. 245, p. 122813, Jun. 2025
DOI: 10.1016/j.renene.2025.122813

## Onshore WT
Study | Ref | Price | Prop | range | Price [€/kWh] | Year | Consider | Price [€/kWh] | Today | year 2030 | year 2050 |  |  |  |  | Today | year 2030 | year 2050
Sens (2022) | [37] | 1325 |  |  | 1325 | 2020 | yes | 1325 | 1325 | [6 empty] | 1325 | #N/A | #N/A
|  | 940-1210 |  | Min | 940 | 2030 | yes | 940 |  | 940 |  | year | avg | min | max | #N/A | 940 | #N/A
|  |  |  | Max | 1210 | 2030 | yes | 1210 |  | 1210 |  | 2020 | 1509 | 990 | 2213 | #N/A | 1210 | #N/A
|  | 820-1120 |  | Min | 820 | 2050 | yes | 820 |  |  | 820 | 2030 | 1075 | 800 | 1350 | #N/A | #N/A | 820
|  |  |  | Max | 1120 | 2050 | yes | 1120 |  |  | 1120 | 2050 | 897.5 | 650 | 1120 | #N/A | #N/A | 1120
IEA (2020) | [39] | 1055 – 2213 USD/kW | Emerging c | Avg | 1591 | 2019 | yes | 1591 | 1591 | [6 empty] | 1591 | #N/A | #N/A
|  |  | Emerging c | Min | 1055 | 2019 | yes | 1055 | 1055 | [6 empty] | 1055 | #N/A | #N/A
|  |  | Emerging c | Max | 2213 | 2019 | yes | 2213 | 2213 | [6 empty] | 2213 | #N/A | #N/A
IRENA (2022) | [41] | 1626 USD/kW | Europe | Avg | 1626 | 2022 | yes | 1626 | 1626 | [6 empty] | 1626 | #N/A | #N/A
|  |  | Europe | Min | 990 | 2022 | yes | 990 | 990 | [6 empty] | 990 | #N/A | #N/A
|  |  | Europe | Max | 1998 | 2022 | yes | 1998 | 1998 | [6 empty] | 1998 | #N/A | #N/A
|  | 1274 USD/kW | Global avg |  | 1274 | 2022 | yes | 1274 | 1274 | [6 empty] | 1274 | #N/A | #N/A
IRENA (2019) | [42] | 800 – 1350 USD/kW |  | Min | 800 | 2030 | yes | 800 |  | 800 | [5 empty] | #N/A | 800 | #N/A
|  |  |  | Max | 1350 | 2030 | yes | 1350 |  | 1350 | [5 empty] | #N/A | 1350 | #N/A
|  | 650 – 1000 USD/kW |  | Min | 650 | 2050 | yes | 650 |  |  | 650 |  |  |  |  | #N/A | #N/A | 650
|  |  |  | Max | 1000 | 2050 | yes | 1000 |  |  | 1000 |  |  |  |  | #N/A | #N/A | 1000
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
[16 empty] | #N/A | #N/A | #N/A
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.
To use the results of this market analysis please cite
F. Superchi, A. Bianchini, A. Moustakis, and G. Pechlivanoglou, “Towards sustainable energy independence: A case study of green hydrogen as seasonal storage integration in a small island,” Renewable Energy, vol. 245, p. 122813, Jun. 2025
DOI: 10.1016/j.renene.2025.122813