## Li-BESS
Study	Ref	Price	Prop	range	Price [€/kWh]	Year		Consider	Price [€/kWh]		Today	year 2030	year 2050					Today	year 2030	year 2050
Irena (2017)	[1]	NMC: 145 €/kWh	NMC		145	2030		yes	145			145					#N/A	145	#N/A
		NMC/LMO: 167 €/kWh	NMC/LMO		167	2030		yes	167			167					year	avg	min	max			#N/A	167	#N/A
		LFP: 224 €/kWh	LFP		224	2030		yes	224			224					2020	298	100	537			#N/A	224	#N/A
NREL (2021)	[2]	143-248 €/kWh		Min	143	2030		yes	143			143					2030	190	84	526			#N/A	143	#N/A
				Max	248	2030		yes	248			248					2050	168	87	248			#N/A	248	#N/A
		87-248 €/kWh		Min	87	2050		yes	87				87					#N/A	#N/A	87
				Max	248	2050		yes	248				248					#N/A	#N/A	248
Mauler (2021)	[3]	234 $/kWh			234	2020		yes	234		234					234	#N/A	#N/A
		132 $/kWh			123	2030		yes	123			123					#N/A	123	#N/A
		NMC: 145 (84-318) €/kWh	NMC	Avg	145	2030		yes	145			145					#N/A	145	#N/A
			NMC	Min	84	2030		yes	84			84					#N/A	84	#N/A
			NMC	Max	318	2030		yes	318			318					#N/A	318	#N/A
		LFP: 222 (107-526) €/kWh	LFP	Avg	222	2030		yes	222			222					#N/A	222	#N/A
			LFP	Min	107	2030		yes	107			107					#N/A	107	#N/A
			LFP	Max	526	2030		yes	526			526					#N/A	526	#N/A
			LFP	Avg	222	2020		yes	222		222
			LFP	Min	107	2020		yes	107		107
			LFP	Max	526	2020		yes	526		526
		71 $/kWh			71	2050		no					#N/A	#N/A	#N/A
Penisa (2020)	[4]	100 $/kWh			100	2024		yes	100		100					100	#N/A	#N/A
Beuse (2020)	[5]	316 $/kWh			316	2017		yes	316		316					316	#N/A	#N/A
		110-157 €/kWh		Min	110	2030		yes	110			110					#N/A	110	#N/A
				Max	157	2030		yes	157			157					#N/A	157	#N/A
Chen (2023)	[6]	97-220 €/kWh		Min	97	2030		yes	97			97					#N/A	97	#N/A
				Max	220	2030		yes	220			220					#N/A	220	#N/A
NREL (2023)	[7]	338 $/kWh	10h		338	2021		yes	338		338					338	#N/A	#N/A
		537 $/kWh	2h		537	2021		yes	537		537					537	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
	To use the results of this market analysis please cite / F. Superchi, A. Bianchini, A. Moustakis, and G. Pechlivanoglou, “Towards sustainable energy independence: A case study of green hydrogen as seasonal storage integration in a small island,” Renewable Energy, vol. 245, p. 122813, Jun. 2025 / DOI: 10.1016/j.renene.2025.122813					#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A

## ALK_EL
Study	Ref	Price	Prop	range	Price [€/kWh]	Year		Consider	Price [€/kWh]		Today	year 2030	year 2050					Today	year 2030	year 2050
IEA (2019)	[7]	500-1400		Min	500	2019		yes	500		500					500	#N/A	#N/A
				Max	1400	2019		yes	1400		1400					year	avg	min	max			1400	#N/A	#N/A
		400-850		Min	400	2030		yes	400			400					2020	883	419	1400			#N/A	400	#N/A
				Max	850	2030		yes	850			850					2030	558	225	1000			#N/A	850	#N/A
		200-700		Min	200	2050		yes	200				200					2050	355	171	700			#N/A	#N/A	200
				Max	700	2050		yes	700				700					#N/A	#N/A	700
IEA (2020)	[8]	1320			1320	2020		no					#N/A	#N/A	#N/A
		410-530		Min	410	2030		yes	410			410					#N/A	410	#N/A
				Max	530	2030		yes	530			530					#N/A	530	#N/A
		320-385		Min	320	2040		yes	320				320					#N/A	#N/A	320
				Max	285	2040		yes	285				285					#N/A	#N/A	285
NetZero (2021)	[9]	750-1160		Min	750	2020		yes	750		750					750	#N/A	#N/A
				Max	1160	2020		yes	1160		1160					1160	#N/A	#N/A
		225-460		Min	225	2030		yes	225			225					#N/A	225	#N/A
				Max	460	2030		yes	460			460					#N/A	460	#N/A
		180-350		Min	180	2040		yes	180				180					#N/A	#N/A	180
				Max	350	2040		yes	350				350					#N/A	#N/A	350
IRENA (2020)	[10]	500-1000		Min	500	2020		yes	500		500					500	#N/A	#N/A
				Max	1000	2020		yes	1000		1000					1000	#N/A	#N/A
		200			200	2050		yes	200				200					#N/A	#N/A	200
Schmidt (2017)	[11]	700-1000		Min	700	2030		yes	700			700					#N/A	700	#N/A
				Max	1000	2030		yes	1000			1000					#N/A	1000	#N/A
Gallardo (2021)	[12]	500-700		Min	500	2018		yes	500		500					500	#N/A	#N/A
				Max	700	2018		yes	700		700					700	#N/A	#N/A
		400-500		Min	400	2030		yes	400			400					#N/A	400	#N/A
				Max	500	2030		yes	500			500					#N/A	500	#N/A
IRENA (2019)	[13]	840			840	2019		yes	840		840					840	#N/A	#N/A
		200			200	2050		yes	200				200					#N/A	#N/A	200
Gorre (2020)	[14]	650			650	2030		yes	650			650					#N/A	650	#N/A
ESCG (2022)	[15]	1320			1320	2021		yes	1320		1320					1320	#N/A	#N/A
		425			425	2030		yes	425			425					#N/A	425	#N/A
Bohm (2020)	[16]	1100			1100	2019		yes	1100		1100					1100	#N/A	#N/A
		620			620	2030		yes	620			620					#N/A	620	#N/A
		520			520	2040		yes	520				520					#N/A	#N/A	520
Grigoriev (2020)	[17]	500-1400		Min	500	2020		yes	500		500					500	#N/A	#N/A
				Max	1400	2020		yes	1400		1400					1400	#N/A	#N/A
		400-850		Min	400	2030		yes	400			400					#N/A	400	#N/A
				Max	850	2030		yes	850			850					#N/A	850	#N/A
		200-700		Min	200	2050		yes	200				200					#N/A	#N/A	200
				Max	700	2050		yes	700				700					#N/A	#N/A	700
Roos (2021)	[18]	419-1153		Min	419	2020		yes	419		419					419	#N/A	#N/A
				Max	1153	2020		yes	1153		1153					1153	#N/A	#N/A
		342-726		Min	342	2030		yes	342			342					#N/A	342	#N/A
				Max	726	2030		yes	726			726					#N/A	726	#N/A
		171-589		Min	171	2050		yes	171				171					#N/A	#N/A	171
				Max	589	2050		yes	589				589					#N/A	#N/A	589
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
	To use the results of this market analysis please cite / F. Superchi, A. Bianchini, A. Moustakis, and G. Pechlivanoglou, “Towards sustainable energy independence: A case study of green hydrogen as seasonal storage integration in a small island,” Renewable Energy, vol. 245, p. 122813, Jun. 2025 / DOI: 10.1016/j.renene.2025.122813					#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A

## PEM_FC
Study	Ref	Price	Prop	range	Price [€/kWh]	Year		Consider	Price [€/kWh]		Today	year 2030	year 2050					Today	year 2030	year 2050
IEA (2019)	[7]	1100-1800		Min	1100	2019		no					#N/A	#N/A	#N/A
				Max	1800	2019		no					year	avg	min	max			#N/A	#N/A	#N/A
		650-1500		Min	650	2030		no					2020	958	700	1400			#N/A	#N/A	#N/A
				Max	1500	2030		no					2030	747	350	1600			#N/A	#N/A	#N/A
		200-900		Min	200	2050		yes	200				200					2050	433	200	900			#N/A	#N/A	200
				Max	900	2050		yes	900				900					#N/A	#N/A	900
IRENA (2020)	[10]	700-1400		Min	700	2020		yes	700		700					700	#N/A	#N/A
				Max	1400	2020		yes	1400		1400					1400	#N/A	#N/A
		200			200	2050		yes	200				200					#N/A	#N/A	200
Schmidt (2017)	[11]	700-1600		Min	700	2030		yes	700			700					#N/A	700	#N/A
				Max	1600	2030		yes	1600			1600					#N/A	1600	#N/A
Gallardo (2021)	[12]	1000			1000	2018		yes	1000		1000					1000	#N/A	#N/A
		650-750		Min	650	2030		yes	650			650					#N/A	650	#N/A
				Max	750	2030		yes	750			750					#N/A	750	#N/A
Baldi (2022)	[19]	730			730	2022		yes	730		730					730	#N/A	#N/A
Fraunhofer (2021)	[20]	430			430	2030		yes	430			430					#N/A	430	#N/A
ESCG (2022)	[15]	1316			1316	2021		no					#N/A	#N/A	#N/A
		350			350	2030		yes	350			350					#N/A	350	#N/A
Ozden (2017)	[21]	2000			2000	2017		no					#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
	To use the results of this market analysis please cite / F. Superchi, A. Bianchini, A. Moustakis, and G. Pechlivanoglou, “Towards sustainable energy independence: A case study of green hydrogen as seasonal storage integration in a small island,” Renewable Energy, vol. 245, p. 122813, Jun. 2025 / DOI: 10.1016/j.renene.2025.122813					#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A

## H2_Tank
Study	Ref	Price	Prop	range	Price [€/kWh]	Year		Consider	Price [€/kWh]		Today	year 2030	year 2050					Today	year 2030	year 2050
Baldi (2022)	[19]	500 €/kg			500	2022		no					#N/A	#N/A	#N/A
Leeuwen (2018)	[22]	490 €/kg			490	2018		yes	490		490					year	avg	min	max			490	#N/A	#N/A
Kharel (2018)	[23]	430 €/kg			430	2018		yes	430		430					2020	464	400	550			430	#N/A	#N/A
Niaz (2015)	[24]	400-530 €/kg		Min	400	2015		yes	400		400					2030	346	220	466			400	#N/A	#N/A
				Max	530	2015		no					2050	345	220	460			#N/A	#N/A	#N/A
Rivard (2019)	[25]	630 €/kg			630	2019		no					#N/A	#N/A	#N/A
Ozden (2017)	[21]	100 $/m3			1200	2017		no					#N/A	#N/A	#N/A
Ulleberg (2020)	[26]	250 bar: 550 €/kg	250 bar		550	2020		yes	550		550					550	#N/A	#N/A
		450 bar: 715 €/kg	450 bar		715	2020		no					#N/A	#N/A	#N/A
		700 bar: 1750 €/kg	700 bar		1750	2020		no					#N/A	#N/A	#N/A
CleanH2 (2023)	[27]	300 €/kg	Target		300	2030		yes	300			300					#N/A	300	#N/A
DOE (2020)	[28]	300 €/kg	Target		300	2030		yes	300			300					#N/A	300	#N/A
		266 €/kg	Target		266	2050		yes	266				266					#N/A	#N/A	266
Parks (2014)	[29]	172 bar: 470 $/kg	172 bar		470	2014		yes	470		470					470	#N/A	#N/A
		875 bar. 1400 $/kg	875 bar		1400	2014		no					#N/A	#N/A	#N/A
Ikäheimo (2018)	[30]	700 bar: 500 €/kg	700 bar		500	2018		yes	500		500					500	#N/A	#N/A
SANDIA (2011)	[31]	500 $/kg			500	2018		yes	500		500					500	#N/A	#N/A
		80 $/kg (target cost)			80	tbd		no					#N/A	#N/A	#N/A
Shin (2023)	[32]	350 bar: 400 $/kg	350 bar		400	2023		yes	400		400					400	#N/A	#N/A
		700 bar: 700 $/kg	700 bar		700	2023		no					#N/A	#N/A	#N/A
Sens (2024)	[33]	460 (220-600) €/kg	100 bar	Avg	460	2030		yes	460			460					#N/A	460	#N/A
				Min	220	2030		yes	220			220					#N/A	220	#N/A
				Max	600	2030		no					#N/A	#N/A	#N/A
		460 (220-600) €/kg		Avg	460	2050		yes	460				460					#N/A	#N/A	460
				Min	220	2050		yes	220				220					#N/A	#N/A	220
				Max	600	2050		no					#N/A	#N/A	#N/A
Villalonga (2021)	[34]	438 USD/kg			438	2024		yes	438		438					438	#N/A	#N/A
		328 USD/kg			328	2030		yes	328			328					#N/A	328	#N/A
IEA (2015)	[35]	14 USD/kWh	Target		466	2030		yes	466			466					#N/A	466	#N/A
		13 USD/kWh	Target		433	2050		yes	433				433					#N/A	#N/A	433
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
	To use the results of this market analysis please cite / F. Superchi, A. Bianchini, A. Moustakis, and G. Pechlivanoglou, “Towards sustainable energy independence: A case study of green hydrogen as seasonal storage integration in a small island,” Renewable Energy, vol. 245, p. 122813, Jun. 2025 / DOI: 10.1016/j.renene.2025.122813					#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A

## PV
Study	Ref	Price	Prop	range	Price [€/kWh]	Year		Consider	Price [€/kWh]		Today	year 2030	year 2050					Today	year 2030	year 2050
Ozden (2017)	[21]	1600-5000 $/kW		Min	1600	2017		yes	1600		1600					1600	#N/A	#N/A
				Max	5000	2017		no					year	avg	min	max			#N/A	#N/A	#N/A
Sens (2022)	[33]	628 €/kW			628	2020		no					2020	1080	677	1600			#N/A	#N/A	#N/A
		250 – 430 €/kW		Min	250	2030		no					2030	587	340	834			#N/A	#N/A	#N/A
				Max	430	2030		no					2050	323	165	481			#N/A	#N/A	#N/A
		170 – 330 €/kW		Min	170	2050		no					#N/A	#N/A	#N/A
				Max	330	2050		no					#N/A	#N/A	#N/A
IRENA (2019)	[34]	1210 USD/kW			1210	2018		yes	1210		1210					1210	#N/A	#N/A
		340 – 834 USD/kW		Min	340	2030		yes	340			340					#N/A	340	#N/A
				Max	834	2030		yes	834			834					#N/A	834	#N/A
		165 – 481 USD/kW		Min	165	2050		yes	165				165					#N/A	#N/A	165
				Max	481	2050		yes	481				481					#N/A	#N/A	481
IEA (2020)	[35]	667 – 1321 USD/kW	Emerging c	Avg	1055	2019		yes	1055		1055					1055	#N/A	#N/A
			Emerging c	Min	677	2019		yes	677		677					677	#N/A	#N/A
			Emerging c	Max	1321	2019		yes	1321		1321					1321	#N/A	#N/A
Statista	[36]	876 USD/kW	Global avg		876	2022		yes	876		876					876	#N/A	#N/A
		983 USD/kW			983	2021		yes	983		983					983	#N/A	#N/A
		917 USD/kW			917	2020		yes	917		917					917	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
To use the results of this market analysis please cite / F. Superchi, A. Bianchini, A. Moustakis, and G. Pechlivanoglou, “Towards sustainable energy independence: A case study of green hydrogen as seasonal storage integration in a small island,” Renewable Energy, vol. 245, p. 122813, Jun. 2025 / DOI: 10.1016/j.renene.2025.122813					#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A

## Onshore_WT
Study	Ref	Price	Prop	range	Price [€/kWh]	Year		Consider	Price [€/kWh]		Today	year 2030	year 2050					Today	year 2030	year 2050
Sens (2022)	[37]	1325			1325	2020		yes	1325		1325					1325	#N/A	#N/A
		940-1210		Min	940	2030		yes	940			940					year	avg	min	max			#N/A	940	#N/A
				Max	1210	2030		yes	1210			1210					2020	1509	990	2213			#N/A	1210	#N/A
		820-1120		Min	820	2050		yes	820				820					2030	1075	800	1350			#N/A	#N/A	820
				Max	1120	2050		yes	1120				1120					2050	898	650	1120			#N/A	#N/A	1120
IEA (2020)	[39]	1055 – 2213 USD/kW	Emerging c	Avg	1591	2019		yes	1591		1591					1591	#N/A	#N/A
			Emerging c	Min	1055	2019		yes	1055		1055					1055	#N/A	#N/A
			Emerging c	Max	2213	2019		yes	2213		2213					2213	#N/A	#N/A
IRENA (2022)	[41]	1626 USD/kW	Europe	Avg	1626	2022		yes	1626		1626					1626	#N/A	#N/A
			Europe	Min	990	2022		yes	990		990					990	#N/A	#N/A
			Europe	Max	1998	2022		yes	1998		1998					1998	#N/A	#N/A
		1274 USD/kW	Global avg		1274	2022		yes	1274		1274					1274	#N/A	#N/A
IRENA (2019)	[42]	800 – 1350 USD/kW		Min	800	2030		yes	800			800					#N/A	800	#N/A
				Max	1350	2030		yes	1350			1350					#N/A	1350	#N/A
		650 – 1000 USD/kW		Min	650	2050		yes	650				650					#N/A	#N/A	650
				Max	1000	2050		yes	1000				1000					#N/A	#N/A	1000
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
	To use the results of this market analysis please cite / F. Superchi, A. Bianchini, A. Moustakis, and G. Pechlivanoglou, “Towards sustainable energy independence: A case study of green hydrogen as seasonal storage integration in a small island,” Renewable Energy, vol. 245, p. 122813, Jun. 2025 / DOI: 10.1016/j.renene.2025.122813					#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A